Temperature Monitoring System Requirement analysis

Mimi C.S

- Project Overview

The objective is to develop a multi-threaded embedded application to monitor environmental parameters (Temperature and Pressure) and system metadata (Configuration Version). The system utilizes a polling thread which updates a shared global data structure, and a processing thread evaluates that data against predefined safety thresholds using a Sampling Time.

2. Functional Requirements

2.1 Threading and Concurrency

FR-1: Polling Thread: The system shall maintain a dedicated thread to fetch raw data from sensors at a fixed periodicity.

FR-2: Processing Thread: The system shall maintain a dedicated thread to evaluate the latest polled data at a fixed periodicity.

FR-3: Thread Safety: Access to the global data structure shared between the Polling and Processing threads must be synchronized using Mutexes to prevent data races

2.2 Parameter Specifications

The system must handle three distinct parameters with the following constraints:

| Parameter | Data Type | Range |
| --- | --- | --- |
| Temperature | Integer (Signed) | -20 to 100 |
| Pressure | Integer(unsigned) | 0 to 10000 |
| Configuration Version | String | 5 character |

2.3 Violation and Notification Logic

FR-4: Threshold Validation: A violation occurs if the current value is less than LowerThreshold value or greater than upper threshold value there will be error log

FR-5: Violation Tracking: The system shall maintain a ViolationCount. This count must increment only if the violation is detected processing cycles.

FR-6: Reset Logic: If a parameter returns to a "Normal" state (within thresholds), the ViolationCount for that parameter must be immediately reset to 0.

FR-7: Notification Trigger: A notification (notifyTemperatureViolation) shall be dispatched only when ViolationCount >= Required Sampling Time.And it should be notified by log.

2.4 State Transition Logic

The processing logic follows a specific state flow to ensure "Sampling Time" is respected:

Idle/Normal: Value is within range; ViolationCount = 0.

Potential Violation: Value is out of range; ViolationCount increments. No notification sent.

Confirmed Violation: ViolationCount reaches sampling time Notification is triggered. ViolationCount = 0.

3. Non-Functional Requirements

Determinism: The polling thread & process thread must execute within a required interval to ensure data freshness.

# Resource Efficiency: Use of uint8_t  and unions for values to minimize the RAM usage.