## Sheet1
Test Cases | Expected Result | Observed Result
1.Normal valid Sensor read and process | Values are printing as expected | Values are printing as expected
2. Sensor values exceed threshold levels even after sampling interval | A notification should be sent and the violated value printed. | A notification should be sent and the violated value printed.
3.Sensor readings exceed the defined range | Log the error and continue polling. | Log the error and continue polling.
4. Failed to set sensor values | Database update failed. The system will detect the exception and log an error | Database update failed. The system will detect the exception and log an error
5. Failed to read | The system is processing same or corrupted data, resulting in repeated values | The system is processing same or corrupted data, resulting in repeated values